Semi-Automated Intraoperative Tracking of Aortic Valve Plane for Transcatheter aortic valve implantation (TAVI) Procedure

Nguyen Duc LH
Dept. name of organization (Line 1 of Affiliation - optional)
Name of organization - acronyms acceptable (line 2)
City, Country (line 3)
Authors Name/s per 2nd Affiliation (Author)
Dept. name of organization (Line 1 of Affiliation - optional)
Name of organization - acronyms acceptable (line 2)
City, Country (line 3)

Abstract—Transcatheter aortic valve implantation (TAVI) is a therapeutic alternative for high-surgical-risk patients with severe symptomatic aortic stenosis. Because the aortic root cannot be observed directly by the surgeon during aortic valve replacement, 2-D X-ray angiographic and fluoroscopic images are typically used to guide TAVI procedures, for which contrast agent needs to be injected from time to time to make the anatomy of the aortic root visible under X-ray. Exact valve placement is crucial during the intervention, also, the contrast of fluoroscopic images is generally limited to minimized the radiation exposure for the patient and the physician. Advanced visualization and augmented reality involving patient-specific 3-D models of the aorta can greatly facilitate the relatively complex TAVI procedures by providing a more realistic anatomy of the aortic root. In this paper, we propose a new method based on the Tracking-Learning-Detection (TLD) approach, applied to the aortic valve calcifications in order to determine the position of the aortic valve plane (AVP) in intra-operative TAVI images. The proposed method also includes a dynamic overlay of an preoperative 3-D aortic root mesh model and an estimated target location of valve implantation onto live 2-D fluoroscopic images. This includes three main steps: In (1) Initialization step, the oriented bounding box of calcification is manually initialized in order to define the distance between the calcification of interest and the AVP in one chosen frame; (2) Tracking of Calcification to determine the position of the calcification in each frame of the live sequence; (3) Updating of the AVP to depict the overlaid AVP and 3-D aortic root mesh onto 2-D fluoroscopic images without contrast injections. The approach was evaluated on 25 TAVI procedures that contain angiographic and fluoroscopic imaging as well. Edwards SAPIEN and CoreValve were implanted in 12 and 33.33% of patients, respectively. The TAVI approaches used were transarterial (transfemoral: 66%; subclavian: 5%) or transapical in 29%. Tracking success rate was 68.3%. Providing an absolute mean displacement error less than 2mm, the early results are satisfactory in terms of feasibility. Its suitability for the TAVI procedure has been also analyzed.
Index Terms—Transcatheter Aortic Valve Implantation, X-ray Fluoroscopy, Calcification Tracking, Aortic Valve Plane Tracking
# Introduction
Affecting 1.8% of the global population, aortic stenosis is the most common valvular lesion occurring among elderly patients and has become extremely frequent because of changing demographics in industrialized countries. There are about 60,000 surgical aortic valve replacements every year in Europe and even more in the United States [1]. For people who have significant aortic stenosis, the only really effective treatment is to surgically replace the diseased aortic valve with an artificial valve. Unfortunately, the standard method of aortic valve replacement requires a major open-heart surgical procedure, and, especially in the elderly patients who most typically develop aortic stenosis, it is a procedure that carries significant risk. Transcatheter aortic valve implantation (TAVI) has emerged as a promising alternative to conventional aortic valve replacement for elderly patients with severe, symptomatic aortic stenosis who are otherwise left untreated due to the perceived high risk of operative mortality.
Compared to the standard aortic valve replacement surgery, TAVI offers a replacement valve introduced through an artery via a small incision (usually the femoral artery) or, less often, surgically with an incision into the chest and then into the left ventricular apex (the transapical approach). About the transfemoral artery procedure that is the most common used, after catheterization through a femoral access, the overall procedure consists in introducing the transcatheter valve passing through successively the descending aorta, the ascending aorta and the native valve to finally perform the deployment of the aortic valve bioprosthesis. For both access types, the last stages concerning the localization and the deployment of the valve need the development of efficient tools to make more secure and reliable the TAVI procedure.
During TAVI procedures, X-ray angiographic and fluoroscopic imaging is routinely used to guide the operation, because the visibility of the target area is limited to the naked eyes due to the small incisions. However, fluoroscopic images do not display the anatomic structures without the contrast agent, which on the other hand needs to be minimized for patients’ and physicians' safety. Determining exactly valve location and minimizing the use of contrast injections are urgently needed during the surgical intervention, because complications can arise from a misplaced valve [2].
Only few previous studies deal with intra-operative support for TAVI procedure. Our goal in this paper is thus to develop a robust and fast method to provide efficient tools coping with difficulties in obtaining an optimal view of the native valve in real-time to define then an optimal target location.
# Related Work
About the computer-based support for TAVI, Wijesinghe N. et al. [3] have previously proposed a guidance by tracking the aortic valve plane (AVP) and the valve prosthesis in fluoroscopic image sequences. This method requires two standard imaging views performed by conventional cine-angiography for initialization step.
Previously, in [4], an intra-operative imaging system has been proposed by Karar M.E. et al. to include the planning system of [5] and to perform real-time tracking of the aortic prosthesis in fluoroscopic images. A system for automatic segmentation and for the static overlay of aortic root volume and landmarks on live fluoroscopic images is described in [6][7][8]. Using intra-operative MRI guidance, a new robotic assistance system has been evaluated for delivering the aortic valve prosthesis using a phantom [9].
Recently, Karar M.E. et al. [10] have proposed a method includes a dynamic overlay of an intra-operative 3-D aortic root mesh model and an estimated target area of valve implantation onto live 2-D fluoroscopic images. However, this is based on a template-based tracking procedure of a pigtail catheter which moves in accordance with the aortic root only when this catheter is locked in one of the native valve's cusp. Thus, user-interaction is required to initialize the algorithm and to correct fluoroscopy overlay errors during the intervention.
Compared with previous work, our method focuses on tracking of the aortic valve calcification to provide the AVP and 3-D aortic root mesh positions in a intra-operative sequence of images rather than overlay of the preoperative 3-D data in a single contrast-enhanced frame. Also, in our approach, only one imaging view is required for interactive initialization. Lastly, a thorough accuracy analysis of the method has been performed with manual tracings as reference standard. This gives a clear indication of algorithm accuracy for applications as an accurate navigation and deployment of the prosthetic valve.
This paper describes a modified tracking method based on the Tracking-Learning-Detection (TLD) approach, applied to the aortic valve calcifications. (Contribution)
The remainder of the paper is organized as follows. Section III give us a brief overview of the object tracking techniques and explains why the TLD framework is used as referred approach to track the calcification. (Organization)
# Overview of Object Tracking
Techniques for object tracking in image sequence can be defined as the problem of estimating the trajectory of an object in the image plane as it moves around a scene. In this work, we focus on semi-automated single-target tracking. The problem of single-target tracking is defined as follows: Given a sequence of images I1 ...In, estimate the state xk of the target for each frame Ik [11]. Object tracking methods encode the state xk as centroids, bounding boxes, bounding ellipses, chains of points or shape [11]. Maggio and Cavallaro [11] group approaches based on the amount of user interaction that is required to identify the objects of interest. Manual tracking requires the interaction with the user in every frame. Automated tracking methods use a priori information in order to initialize the tracking process automatically. In semi-automated tracking, user input is required in order to initialize the tracking process.
One of main challenges in object tracking is introduced by appearance variations of the target itself.
(why TLD is chosen) The template is used to format your paper and style the text. All margins, column widths, line spaces, and text fonts are prescribed; please do not alter them. You may note peculiarities. For example, the head margin in this template measures proportionately more than is customary. This measurement and others are deliberate, using specifications that anticipate your paper as one part of the entire proceedings, and not as an independent document. Please do not revise any of the current designations.
# Prepare Your Paper Before Styling
Before you begin to format your paper, first write and save the content as a separate text file. Keep your text and graphic files separate until after the text has been formatted and styled. Do not use hard tabs, and limit use of hard returns to only one return at the end of a paragraph. Do not add any kind of pagination anywhere in the paper. Do not number text heads—the template will do that for you.
Finally, complete content and organizational editing before formatting. Please take note of the following items when proofreading spelling and grammar.
## Abbreviations and Acronyms (Heading 2)
Define abbreviations and acronyms the first time they are used in the text, even after they have been defined in the abstract. Abbreviations such as IEEE and SI do not have to be defined. Do not use abbreviations in the title or heads unless they are unavoidable.
## Units
- Use either SI or CGS as primary units. (SI units are encouraged.) English units may be used as secondary units (in parentheses). An exception would be the use of English units as identifiers in trade, such as “3.5-inch disk drive”.
- Avoid combining SI and CGS units, such as current in amperes and magnetic field in oersteds. This often leads to confusion because equations do not balance dimensionally. If you must use mixed units, clearly state the units for each quantity that you use in an equation.
- Do not mix complete spellings and abbreviations of units: “Wb/m2” or “webers per square meter”, not “webers/m2”. Spell out units when they appear in text: “. . . a few henries”, not “. . . a few H”.
- Use a zero before decimal points: “0.25”, not “.25”. Use “cm3”, not “cc”. (bullet list)
## Equations
The equations are an exception to the prescribed specifications of this template. You will need to determine whether or not your equation should be typed using either the Times New Roman or the Symbol font (please no other font). To create multileveled equations, it may be necessary to treat the equation as a graphic and insert it into the text after your paper is styled.
Number equations consecutively. Equation numbers, within parentheses, are to position flush right, as in Eq. 1, using a right tab stop. To make your equations more compact, you may use the solidus ( / ), the exp function, or appropriate exponents. Italicize Roman symbols for quantities and variables, but not Greek symbols. Use a long dash rather than a hyphen for a minus sign. Punctuate equations with commas or periods when they are part of a sentence, as in
	
Note that the equation is centered using a center tab stop. Be sure that the symbols in your equation have been defined before or immediately following the equation. Use “Eq. 1” or “Equation 1”, not “(1)”, especially at the beginning of a sentence: “Equation 1 is . . .”
## Some Common Mistakes
- The word “data” is plural, not singular.
- The subscript for the permeability of vacuum 0, and other common scientific constants, is zero with subscript formatting, not a lowercase letter “o”.
- In American English, commas, semi-/colons, periods, question and exclamation marks are located within quotation marks only when a complete thought or name is cited, such as a title or full quotation. When quotation marks are used, instead of a bold or italic typeface, to highlight a word or phrase, punctuation should appear outside of the quotation marks. A parenthetical phrase or statement at the end of a sentence is punctuated outside of the closing parenthesis (like this). (A parenthetical sentence is punctuated within the parentheses.)
- A graph within a graph is an “inset”, not an “insert”. The word alternatively is preferred to the word “alternately” (unless you really mean something that alternates).
- Do not use the word “essentially” to mean “approximately” or “effectively”.
- In your paper title, if the words “that uses” can accurately replace the word “using”, capitalize the “u”; if not, keep using lower-cased.
- Be aware of the different meanings of the homophones “affect” and “effect”, “complement” and “compliment”, “discreet” and “discrete”, “principal” and “principle”.
- Do not confuse “imply” and “infer”.
- The prefix “non” is not a word; it should be joined to the word it modifies, usually without a hyphen.
- There is no period after the “et” in the Latin abbreviation “et al.”.
- The abbreviation “i.e.” means “that is”, and the abbreviation “e.g.” means “for example”.
An excellent style manual for science writers is given by Young [7].
# Using the Template
After the text edit has been completed, the paper is ready for the template. Duplicate the template file by using the Save As command, and use the naming convention prescribed by your conference for the name of your paper. In this newly created file, highlight all of the contents and import your prepared text file. You are now ready to style your paper; use the scroll down window on the left of the MS Word Formatting toolbar.
## Authors and Affiliations
The template is designed so that author affiliations are not repeated each time for multiple authors of the same affiliation. Please keep your affiliations as succinct as possible (for example, do not differentiate among departments of the same organization). This template was designed for two affiliations.
### For Author/s of Only One Affiliation (Heading 3): To change the default, adjust the template as follows.
#### Selection (Heading 4): Highlight all author and affiliation lines.
#### Change Number of Columns: Select Format > Columns >Presets > One Column.
#### Deletion: Delete the author and affiliation lines for the second affiliation.
### For Authors of More than Two Affiliations: To change the default, adjust the template as follows.
#### Selection: Highlight all author and affiliation lines.
#### Change Number of Columns: Select Format > Columns > Presets > One Column.
#### Highlight Author and Affiliation Lines of Affiliation 1 and Copy this Selection.
#### Formatting: Insert one hard return immediately after the last character of the last affiliation line. Then paste down the copy of affiliation 1. Repeat as necessary for each additional affiliation.
#### Reassign Number of Columns: Place your cursor to the right of the last character of the last affiliation line of an even numbered affiliation (e.g., if there are five affiliations, place your cursor at end of fourth affiliation). Drag the cursor up to highlight all of the above author and affiliation lines. Go to Format > Columns and select “2 Columns”. If you have an odd number of affiliations, the final affiliation will be centered on the page; all previous will be in two columns.
## Identify the Headings
Headings, or heads, are organizational devices that guide the reader through your paper. There are two types: component heads and text heads.
Component heads identify the different components of your paper and are not topically subordinate to each other. Examples include Acknowledgments and References and, for these, the correct style to use is “Heading 5”. Use “figure caption” for your Figure captions, and “table head” for your table title. Run-in heads, such as “Abstract”, will require you to apply a style (in this case, italic) in addition to the style provided by the drop down menu to differentiate the head from the text.
Text heads organize the topics on a relational, hierarchical basis. For example, the paper title is the primary text head because all subsequent material relates and elaborates on this one topic. If there are two or more sub-topics, the next level head (uppercase Roman numerals) should be used and, conversely, if there are not at least two sub-topics, then no subheads should be introduced. Styles named “Heading 1”, “Heading 2”, “Heading 3”, and “Heading 4” are prescribed.
## Figures and Tables
Place figures and tables at the top and bottom of columns. Avoid placing them in the middle of columns. Large figures and tables may span across both columns. Figure captions should be below the figures; table captions should appear above the tables. Insert figures and tables after they are cited in the text. Use the abbreviation “Fig. 1” in the text, and “Figure 1” at the beginning of a sentence.
Use 8 point Times New Roman for figure labels. Use words rather than symbols or abbreviations when writing figure-axis labels to avoid confusing the reader. As an example, write the quantity “Magnetization”, or “Magnetization, M”, not just “M”.
If including units in the label, present them within parentheses. Do not label axes only with units. In the example, write “Magnetization (A/m)” or “Magnetization {A[m(1)]}”, not just “A/m”. Do not label axes with a ratio of quantities and units. For example, write “Temperature (K)”, not “Temperature/K”.
## Footnotes
Use footnotes sparingly (or not at all) and place them at the bottom of the column on the page on which they are referenced. Use Times 8-point type, single-spaced.
To help your readers, avoid using footnotes altogether and include necessary peripheral observations in the text (within parentheses, if you prefer, as in this sentence).
Number footnotes separately from reference numbers, and in superscripts. Do not put footnotes in the reference list. Use letters for table footnotes.
Table Type Styles
Table Head	Table Column Head
	Table column subhead	Subhead	Subhead
copy	More table copya

a. Sample of a table footnote. (table footnote)
Example of a figure caption. (figure caption)
We suggest that you use a text box to insert a graphic (ideally 300 dpi, with all fonts embedded) because, in an MSW document, this method is somewhat more stable than directly inserting a picture.
To have non-visible rules on Example of a figure caption. (figure caption) your frame, use the MSWord pull-down menu, select Format > Borders and Shading > Select ”None”.
# Copyright Forms
You must submit the IEEE Electronic Copyright Form (ECF) as described in your author-kit message. THIS FORM MUST BE SUBMITTED IN ORDER TO PUBLISH YOUR PAPER.
# Acknowledgment
The preferred spelling of the word “acknowledgment” in America is without an “e” after the “g”. Avoid the stilted expression, “One of us (R. B. G.) thanks . . .” Instead, try
“R. B. G. thanks”. Put applicable sponsor acknowledgments here; DO NOT place them on the first page of your paper or as a footnote.
# References

1. V.T. Nkomo, J.M. Gardin, T.N. Skelton, J.S. Gottdiener, C.G. Scott, M. Enriquez-Sarano. Burden of valvular heart diseases: a population-based study. Lancet, 368 (10) (2006), pp. 1005–1011
2. Yan, T. D., Cao, C., Martens-Nielsen, J., Padang, R., Ng, M., Vallely, M. P. & Bannon, P. G. Transcatheter Aortic Valve Implantation for High-Risk Patients with Severe Aortic Stenosis: A Systematic Review. The Journal of thoracic and cardiovascular surgery, Vol.139, No.6, 2010, pp. 1519-28, ISSN 0022-5223.
3. Wijesinghe N., Masson J., Nietlispach F., Tay E., GurvitchR., Wood D., Webb J. A Novel Real-Time Image Processor to Facilitate Transcatheter Aortic Valve Implantation. Journal Am Coll Cardiol; volume 55, issue 10s1, 2010.
4. Karar, M.E., Gessat, M., Walther, T., Falk, V., Burgert, O.: Towards a New Image Guidance System for Assisting Transapical Minimally Invasive Aortic Valve Implantation. In: Conf. Proc. IEEE Eng. Med. Biol. Soc., pp. 3645–3648. IEEE Press, New York (2009)
5. Gessat, M., Merk, D.R., Falk, V., Walther, T., Jacobs, S., Nottling, A., Burgert, O.: A Planning System for Transapical Aortic Valve Implantation. In: Proc. of SPIE Medical Imaging (2009)
6. Zheng, Y., John, M., Liao, R., Boese, J., Kirschstein, U., Georgescu, B., Zhou, S.K., Kempfert, J., Walther, T., Brockmann, G., Comaniciu, D.: Automatic Aorta Segmentation and Valve Landmark Detection in C-Arm CT: Application to Aortic Valve Implantation. In: Jiang, T., Navab, N., Pluim, J.P.W., Viergever, M.A. (eds.) MICCAI 2010. LNCS, vol. 6361, pp. 476–483. Springer, Heidelberg (2010)
7. John, M., Liao, R., Zheng, Y., Nottling, A., Boese, J., Kirschstein, U., Kempfert, J., Walther, T.: System to Guide Transcatheter Aortic Valve Implantations Based on Interventional C-arm CT Imaging. In: Jiang, T., Navab, N., Pluim, J.P.W., Viergever, M.A. (eds.) MICCAI 2010. LNCS, vol. 6361, pp. 375–382. Springer, Heidelberg (2010)
8. Liao R., Miao S., Zheng Y. Automatic and efficient contrast-based 2-D/3-D fusion for trans-catheter aortic valve implantation (TAVI). Comput Med Imaging Graph. 2013 Mar;37(2):150-61. doi: 10.1016/j.compmedimag.2013.01.008. Epub 2013 Feb 19.
9. Ming, L., Kapoor, A., Mazilu, D., Horvath, K.A.: Pneumatic Actuated Robotic Assistant System for Aortic Valve Replacement Under MRI Guidance. IEEE Trans. on Biomed. Eng. 58, 443–451 (2011).
10. Esmail Karar M., John M., Holzhey D., Falk V., Mohr FW. and Burgert O. Model-Updated Image-Guided Minimally Invasive Off-Pump Transcatheter Aortic Valve Implantation. Medical Image Computing and Computer-Assisted Intervention – MICCAI 2011; Volume 6891, 2011, pp 275-282.
11. E. Maggio and A. Cavallaro. Video Tracking: Theory and Practice. Wiley, 2011.